EXPERIMENT-4

AIM: To find the wavelength of mercury green light by diffraction grating using spectrometer.

APPARATUS: Spectrometer, diffraction grating element and mercury vapor lamp.

THEORY:

OBSERVATION: Least count=1/120 degrees

Grating element (a+b) = 1/600 mm=1.67X10-6m

Wavelength of mercury green light actual=546.1nm

| S. No | Order of diffraction(n) | Left Spectrum |  |  |  | Right Spectrum |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | MSR | VSR | Total |  | MSR | VSR | Total |  |
| 1 | 1 | 341 | 5 |  | 341.041 | 19 | 9 |  | 19.075 |
| 2 | 2 | 315 | 3 |  | 315.025 | 39 | 6 |  | 39.050 |

CALCULATION:

RESULT: Wavelength of mercury green light as determined from experiment is 550.68nm.

Percentage error is 0.8%.

PRECAUTIONS: 1) The mechanical adjustment of the telescope should be carried.

2) The slit used must be as narrow as possible.

3) Use reading lens while recording the vernier scales.

By: Amogh Garg

2020UCO1688